## Number of unsuccessfully genera
Number of unsuccessfully generated occupants
No. | Fire scenario | Fire source | Occupant flow type | Simulation run | 4F | 3F | 2F | 1F | UG | LG | B1 | B2
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 1 | 37 | 61 | 53 | 31 | 102 | 105 | 94 | 30
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 2 | 47 | 52 | 43 | 33 | 106 | 79 | 98 | 43
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 3 | 37 | 62 | 62 | 24 | 83 | 80 | 118 | 40
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 4 | 42 | 55 | 49 | 31 | 120 | 90 | 120 | 36
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 5 | 34 | 71 | 52 | 35 | 104 | 78 | 128 | 32
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 6 | 42 | 50 | 62 | 29 | 105 | 100 | 136 | 35
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 7 | 41 | 80 | 54 | 25 | 92 | 79 | 119 | 41
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 8 | 41 | 53 | 47 | 32 | 86 | 111 | 133 | 35
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 9 | 42 | 61 | 46 | 30 | 89 | 100 | 137 | 35
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 10 | 33 | 73 | 45 | 22 | 122 | 86 | 95 | 31
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 11 | 36 | 74 | 57 | 31 | 93 | 78 | 107 | 44
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 12 | 39 | 79 | 60 | 24 | 90 | 82 | 93 | 35
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 13 | 36 | 55 | 56 | 31 | 125 | 76 | 139 | 44
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 14 | 40 | 74 | 55 | 34 | 93 | 109 | 110 | 38
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 15 | 46 | 68 | 43 | 31 | 107 | 76 | 117 | 43
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 16 | 34 | 65 | 47 | 25 | 110 | 87 | 107 | 41
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 17 | 37 | 49 | 58 | 33 | 124 | 111 | 129 | 43
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 18 | 34 | 73 | 54 | 23 | 110 | 85 | 119 | 42
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 19 | 39 | 68 | 59 | 26 | 113 | 75 | 96 | 32
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupancy | 20 | 41 | 56 | 42 | 31 | 107 | 74 | 124 | 30
| Average |  |  |  | 38.9 | 63.95 | 52.2 | 29.05 | 104.05 | 88.05 | 115.95 | 37.5
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 1 | 29 | 45 | 32 | 21 | 86 | 90 | 114 | 27
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 2 | 36 | 60 | 49 | 18 | 110 | 66 | 88 | 35
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 3 | 34 | 43 | 32 | 25 | 76 | 66 | 104 | 25
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 4 | 30 | 54 | 45 | 27 | 108 | 83 | 108 | 30
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 5 | 27 | 62 | 51 | 9 | 74 | 75 | 80 | 35
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 6 | 26 | 39 | 46 | 20 | 108 | 90 | 95 | 29
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 7 | 37 | 59 | 39 | 26 | 115 | 85 | 120 | 24
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 8 | 28 | 49 | 34 | 28 | 103 | 66 | 79 | 33
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 9 | 38 | 51 | 39 | 21 | 99 | 95 | 98 | 25
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 10 | 36 | 53 | 46 | 27 | 86 | 78 | 79 | 27
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 11 | 38 | 41 | 38 | 20 | 76 | 76 | 91 | 33
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 12 | 34 | 53 | 41 | 22 | 79 | 66 | 94 | 26
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 13 | 37 | 43 | 34 | 28 | 95 | 75 | 116 | 33
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 14 | 33 | 40 | 46 | 25 | 98 | 72 | 89 | 28
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 15 | 29 | 39 | 48 | 12 | 109 | 79 | 121 | 24
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 16 | 28 | 50 | 37 | 28 | 90 | 92 | 86 | 37
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 17 | 34 | 62 | 32 | 13 | 85 | 63 | 76 | 32
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 18 | 32 | 42 | 33 | 28 | 77 | 78 | 92 | 37
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 19 | 33 | 42 | 34 | 19 | 111 | 98 | 86 | 27
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupancy | 20 | 31 | 60 | 38 | 15 | 87 | 69 | 119 | 31
| Average |  |  |  | 32.5 | 49.35 | 39.7 | 21.6 | 93.6 | 78.1 | 96.75 | 29.9
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 1 | 28 | 46 | 30 | 17 | 70 | 81 | 91 | 24
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 2 | 31 | 36 | 38 | 18 | 84 | 80 | 70 | 29
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 3 | 31 | 43 | 45 | 18 | 72 | 81 | 69 | 27
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 4 | 32 | 41 | 48 | 26 | 102 | 71 | 87 | 20
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 5 | 31 | 43 | 31 | 19 | 74 | 80 | 112 | 21
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 6 | 28 | 44 | 45 | 22 | 70 | 79 | 84 | 21
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 7 | 27 | 48 | 42 | 19 | 78 | 81 | 72 | 26
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 8 | 31 | 48 | 44 | 24 | 89 | 77 | 98 | 29
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 9 | 33 | 36 | 46 | 25 | 74 | 73 | 100 | 27
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 10 | 34 | 48 | 45 | 17 | 88 | 80 | 101 | 28
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 11 | 33 | 52 | 40 | 24 | 100 | 63 | 81 | 25
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 12 | 26 | 57 | 45 | 22 | 98 | 66 | 97 | 28
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 13 | 29 | 51 | 46 | 18 | 105 | 73 | 100 | 28
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 14 | 30 | 50 | 37 | 19 | 86 | 74 | 73 | 26
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 15 | 24 | 55 | 35 | 16 | 96 | 65 | 94 | 21
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 16 | 22 | 35 | 38 | 16 | 78 | 74 | 105 | 31
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 17 | 29 | 44 | 43 | 18 | 68 | 78 | 110 | 23
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 18 | 22 | 53 | 33 | 21 | 95 | 82 | 106 | 20
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 19 | 27 | 55 | 39 | 22 | 75 | 75 | 91 | 25
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupancy | 20 | 23 | 42 | 40 | 22 | 82 | 59 | 85 | 27
| Average |  |  |  | 28.55 | 46.35 | 40.5 | 20.15 | 84.2 | 74.6 | 91.3 | 25.3
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 1 | 42 | 70 | 49 | 31 | 92 | 105 | 119 | 35
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 2 | 32 | 59 | 44 | 29 | 105 | 76 | 89 | 35
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 3 | 50 | 78 | 48 | 27 | 128 | 94 | 94 | 40
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 4 | 44 | 64 | 52 | 27 | 114 | 111 | 128 | 43
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 5 | 48 | 65 | 64 | 25 | 90 | 108 | 106 | 29
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 6 | 45 | 75 | 47 | 22 | 101 | 74 | 131 | 38
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 7 | 37 | 63 | 41 | 22 | 132 | 98 | 133 | 34
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 8 | 38 | 60 | 52 | 28 | 88 | 111 | 138 | 40
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 9 | 51 | 63 | 54 | 24 | 106 | 70 | 138 | 34
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 10 | 51 | 58 | 47 | 34 | 133 | 78 | 132 | 37
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 11 | 52 | 52 | 64 | 30 | 130 | 99 | 94 | 29
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 12 | 44 | 74 | 64 | 25 | 102 | 85 | 112 | 35
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 13 | 47 | 75 | 54 | 30 | 113 | 105 | 89 | 40
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 14 | 51 | 53 | 41 | 24 | 130 | 112 | 116 | 40
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 15 | 33 | 78 | 43 | 28 | 115 | 71 | 131 | 36
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 16 | 33 | 68 | 50 | 26 | 126 | 92 | 137 | 39
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 17 | 48 | 57 | 56 | 22 | 109 | 101 | 124 | 35
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 18 | 32 | 72 | 43 | 30 | 109 | 98 | 107 | 29
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 19 | 40 | 79 | 49 | 33 | 105 | 105 | 142 | 43
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupancy | 20 | 56 | 67 | 57 | 22 | 90 | 102 | 115 | 40
| Average |  |  |  | 43.7 | 66.5 | 50.95 | 26.95 | 110.9 | 94.75 | 118.75 | 36.55
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 1 | 30 | 53 | 37 | 26 | 115 | 77 | 92 | 33
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 2 | 28 | 46 | 38 | 24 | 75 | 93 | 106 | 34
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 3 | 31 | 46 | 33 | 19 | 82 | 67 | 120 | 32
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 4 | 24 | 39 | 42 | 22 | 79 | 77 | 96 | 34
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 5 | 34 | 59 | 33 | 24 | 115 | 66 | 89 | 31
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 6 | 36 | 42 | 32 | 28 | 75 | 76 | 81 | 34
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 7 | 38 | 62 | 36 | 23 | 80 | 69 | 90 | 37
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 8 | 37 | 52 | 34 | 24 | 93 | 73 | 94 | 37
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 9 | 26 | 49 | 46 | 21 | 94 | 64 | 88 | 25
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 10 | 27 | 56 | 51 | 22 | 116 | 75 | 114 | 24
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 11 | 25 | 57 | 44 | 23 | 98 | 95 | 116 | 24
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 12 | 34 | 62 | 44 | 25 | 106 | 81 | 110 | 26
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 13 | 34 | 59 | 33 | 25 | 75 | 80 | 95 | 28
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 14 | 25 | 62 | 41 | 21 | 101 | 96 | 86 | 27
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 15 | 29 | 61 | 52 | 28 | 113 | 97 | 86 | 34
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 16 | 35 | 59 | 37 | 26 | 113 | 76 | 119 | 32
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 17 | 35 | 58 | 42 | 24 | 103 | 82 | 86 | 29
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 18 | 36 | 58 | 35 | 21 | 90 | 84 | 122 | 26
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 19 | 31 | 50 | 35 | 24 | 74 | 75 | 101 | 36
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupancy | 20 | 30 | 41 | 35 | 24 | 97 | 99 | 120 | 37
| Average |  |  |  | 31.25 | 53.55 | 39 | 23.7 | 94.7 | 80.1 | 100.55 | 31
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 1 | 29 | 41 | 38 | 21 | 87 | 56 | 107 | 23
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 2 | 28 | 45 | 40 | 26 | 88 | 87 | 112 | 31
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 3 | 31 | 44 | 22 | 25 | 74 | 66 | 71 | 32
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 4 | 28 | 42 | 37 | 20 | 98 | 88 | 87 | 29
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 5 | 28 | 40 | 13 | 22 | 96 | 71 | 108 | 21
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 6 | 30 | 46 | 42 | 18 | 101 | 85 | 97 | 29
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 7 | 34 | 39 | 46 | 25 | 73 | 85 | 99 | 31
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 8 | 26 | 37 | 36 | 23 | 91 | 75 | 99 | 25
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 9 | 24 | 39 | 45 | 22 | 85 | 86 | 95 | 27
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 10 | 27 | 55 | 27 | 25 | 67 | 70 | 94 | 28
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 11 | 27 | 52 | 35 | 23 | 84 | 73 | 95 | 21
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 12 | 30 | 54 | 39 | 24 | 107 | 63 | 78 | 20
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 13 | 31 | 35 | 44 | 22 | 99 | 74 | 69 | 20
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 14 | 23 | 36 | 46 | 24 | 78 | 61 | 79 | 29
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 15 | 31 | 41 | 18 | 23 | 107 | 82 | 82 | 20
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 16 | 26 | 45 | 46 | 18 | 68 | 60 | 80 | 27
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 17 | 26 | 35 | 38 | 20 | 98 | 78 | 112 | 26
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 18 | 30 | 50 | 47 | 24 | 71 | 78 | 93 | 26
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 19 | 34 | 36 | 42 | 17 | 101 | 58 | 69 | 20
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupancy | 20 | 28 | 39 | 29 | 23 | 97 | 76 | 76 | 23
| Average |  |  |  | 28.55 | 42.55 | 36.5 | 22.25 | 88.5 | 73.6 | 90.1 | 25.4
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 1 | 41 | 71 | 47 | 25 | 105 | 81 | 97 | 37
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 2 | 41 | 54 | 56 | 34 | 92 | 95 | 109 | 38
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 3 | 42 | 71 | 44 | 34 | 98 | 92 | 91 | 40
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 4 | 45 | 72 | 42 | 32 | 119 | 110 | 109 | 38
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 5 | 35 | 70 | 61 | 26 | 110 | 87 | 135 | 41
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 6 | 38 | 73 | 60 | 24 | 119 | 83 | 122 | 43
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 7 | 35 | 63 | 46 | 22 | 123 | 98 | 130 | 25
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 8 | 37 | 50 | 64 | 30 | 107 | 76 | 95 | 38
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 9 | 43 | 60 | 44 | 23 | 100 | 83 | 115 | 31
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 10 | 43 | 66 | 54 | 24 | 97 | 73 | 132 | 42
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 11 | 48 | 70 | 56 | 35 | 100 | 114 | 140 | 45
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 12 | 45 | 54 | 52 | 25 | 131 | 97 | 96 | 28
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 13 | 36 | 54 | 42 | 28 | 108 | 76 | 93 | 42
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 14 | 51 | 66 | 51 | 34 | 131 | 108 | 94 | 40
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 15 | 33 | 51 | 54 | 31 | 107 | 82 | 110 | 22
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 16 | 33 | 75 | 49 | 23 | 99 | 93 | 113 | 39
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 17 | 45 | 58 | 51 | 33 | 90 | 99 | 92 | 12
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 18 | 36 | 63 | 59 | 22 | 104 | 83 | 87 | 14
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 19 | 32 | 56 | 63 | 21 | 101 | 102 | 129 | 29
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupancy | 20 | 39 | 73 | 56 | 32 | 112 | 105 | 136 | 34
| Average |  |  |  | 39.9 | 63.5 | 52.55 | 27.9 | 107.65 | 91.85 | 111.25 | 33.9
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 1 | 27 | 44 | 42 | 20 | 87 | 75 | 78 | 32
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 2 | 13 | 60 | 35 | 23 | 85 | 65 | 96 | 33
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 3 | 36 | 46 | 35 | 22 | 79 | 93 | 122 | 23
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 4 | 30 | 56 | 52 | 29 | 104 | 93 | 110 | 25
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 5 | 38 | 58 | 52 | 26 | 87 | 92 | 114 | 28
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 6 | 34 | 45 | 39 | 25 | 113 | 67 | 106 | 35
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 7 | 28 | 60 | 51 | 28 | 87 | 81 | 103 | 27
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 8 | 25 | 47 | 42 | 26 | 106 | 98 | 87 | 27
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 9 | 37 | 57 | 38 | 29 | 103 | 65 | 92 | 35
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 10 | 34 | 61 | 52 | 22 | 104 | 88 | 83 | 36
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 11 | 36 | 60 | 43 | 26 | 91 | 83 | 84 | 26
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 12 | 39 | 59 | 49 | 28 | 113 | 91 | 120 | 28
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 13 | 11 | 42 | 51 | 27 | 112 | 82 | 112 | 30
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 14 | 32 | 58 | 51 | 24 | 95 | 87 | 117 | 30
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 15 | 25 | 48 | 33 | 28 | 103 | 94 | 121 | 25
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 16 | 26 | 59 | 55 | 29 | 105 | 82 | 88 | 35
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 17 | 29 | 40 | 40 | 25 | 79 | 70 | 93 | 27
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 18 | 36 | 43 | 49 | 19 | 87 | 73 | 84 | 29
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 19 | 28 | 41 | 44 | 24 | 102 | 97 | 97 | 30
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupancy | 20 | 12 | 42 | 40 | 19 | 80 | 69 | 86 | 25
| Average |  |  |  | 28.8 | 51.3 | 44.65 | 24.95 | 96.1 | 82.25 | 99.65 | 29.3
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 1 | 26 | 55 | 37 | 26 | 99 | 73 | 99 | 28
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 2 | 22 | 51 | 47 | 19 | 99 | 59 | 97 | 21
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 3 | 27 | 57 | 45 | 25 | 77 | 68 | 70 | 28
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 4 | 24 | 56 | 46 | 22 | 73 | 72 | 70 | 30
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 5 | 30 | 46 | 32 | 24 | 66 | 73 | 77 | 25
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 6 | 30 | 35 | 30 | 21 | 101 | 56 | 80 | 24
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 7 | 22 | 36 | 32 | 26 | 99 | 70 | 88 | 29
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 8 | 25 | 35 | 42 | 22 | 83 | 79 | 85 | 28
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 9 | 29 | 54 | 29 | 21 | 74 | 89 | 97 | 27
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 10 | 34 | 48 | 38 | 21 | 83 | 78 | 68 | 24
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 11 | 16 | 37 | 42 | 19 | 104 | 57 | 79 | 21
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 12 | 28 | 37 | 40 | 17 | 79 | 71 | 100 | 22
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 13 | 32 | 57 | 41 | 23 | 78 | 83 | 87 | 30
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 14 | 33 | 56 | 31 | 19 | 73 | 80 | 100 | 22
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 15 | 22 | 42 | 40 | 25 | 94 | 82 | 105 | 27
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 16 | 29 | 53 | 39 | 26 | 106 | 56 | 87 | 26
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 17 | 31 | 36 | 39 | 23 | 100 | 79 | 100 | 25
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 18 | 28 | 55 | 42 | 19 | 97 | 66 | 81 | 26
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 19 | 34 | 35 | 31 | 25 | 92 | 62 | 94 | 23
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupancy | 20 | 27 | 43 | 46 | 20 | 107 | 75 | 106 | 22
| Average |  |  |  | 27.45 | 46.2 | 38.45 | 22.15 | 89.2 | 71.4 | 88.5 | 25.4
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 1 | 37 | 73 | 40 | 32 | 121 | 94 | 109 | 29
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 2 | 38 | 50 | 44 | 28 | 105 | 96 | 91 | 38
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 3 | 47 | 70 | 41 | 31 | 93 | 98 | 113 | 29
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 4 | 35 | 54 | 50 | 26 | 118 | 101 | 119 | 41
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 5 | 52 | 81 | 41 | 22 | 124 | 82 | 139 | 32
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 6 | 48 | 63 | 41 | 29 | 101 | 91 | 122 | 40
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 7 | 46 | 55 | 62 | 22 | 122 | 95 | 111 | 43
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 8 | 45 | 51 | 53 | 30 | 82 | 109 | 117 | 35
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 9 | 38 | 78 | 49 | 32 | 119 | 85 | 130 | 30
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 10 | 35 | 51 | 45 | 28 | 101 | 88 | 113 | 33
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 11 | 46 | 50 | 53 | 34 | 108 | 82 | 103 | 43
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 12 | 48 | 71 | 56 | 32 | 110 | 75 | 100 | 38
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 13 | 42 | 55 | 50 | 24 | 120 | 103 | 92 | 39
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 14 | 50 | 74 | 64 | 27 | 83 | 109 | 131 | 33
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 15 | 51 | 67 | 45 | 23 | 133 | 77 | 122 | 41
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 16 | 47 | 51 | 44 | 26 | 101 | 77 | 115 | 40
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 17 | 39 | 68 | 62 | 30 | 101 | 92 | 126 | 28
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 18 | 42 | 75 | 60 | 32 | 113 | 97 | 94 | 37
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 19 | 38 | 72 | 39 | 22 | 94 | 83 | 93 | 34
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupancy | 20 | 37 | 56 | 64 | 26 | 127 | 77 | 93 | 35
| Average |  |  |  | 43.05 | 63.25 | 50.15 | 27.8 | 108.8 | 90.55 | 111.65 | 35.9
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 1 | 29 | 41 | 34 | 19 | 88 | 98 | 113 | 30
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 2 | 30 | 43 | 47 | 29 | 113 | 68 | 113 | 31
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 3 | 26 | 54 | 43 | 23 | 116 | 78 | 105 | 29
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 4 | 33 | 53 | 35 | 24 | 96 | 71 | 103 | 23
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 5 | 33 | 41 | 34 | 30 | 77 | 90 | 80 | 31
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 6 | 24 | 53 | 50 | 26 | 74 | 92 | 111 | 36
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 7 | 37 | 61 | 46 | 23 | 96 | 62 | 93 | 23
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 8 | 35 | 63 | 47 | 24 | 86 | 64 | 81 | 27
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 9 | 26 | 39 | 36 | 29 | 89 | 96 | 98 | 29
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 10 | 36 | 40 | 48 | 23 | 93 | 92 | 78 | 30
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 11 | 26 | 46 | 36 | 25 | 102 | 68 | 97 | 23
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 12 | 36 | 52 | 46 | 27 | 99 | 93 | 98 | 37
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 13 | 36 | 46 | 33 | 29 | 109 | 79 | 83 | 24
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 14 | 25 | 56 | 46 | 23 | 87 | 91 | 118 | 31
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 15 | 28 | 58 | 33 | 30 | 112 | 93 | 79 | 30
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 16 | 37 | 58 | 48 | 26 | 76 | 91 | 95 | 28
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 17 | 26 | 43 | 43 | 29 | 79 | 61 | 111 | 33
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 18 | 37 | 46 | 50 | 19 | 92 | 85 | 102 | 32
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 19 | 26 | 49 | 49 | 26 | 78 | 79 | 95 | 36
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupancy | 20 | 33 | 42 | 34 | 26 | 94 | 71 | 117 | 29
| Average |  |  |  | 30.95 | 49.2 | 41.9 | 25.5 | 92.8 | 81.1 | 98.5 | 29.6
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 1 | 31 | 37 | 44 | 21 | 106 | 88 | 99 | 20
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 2 | 25 | 45 | 43 | 22 | 108 | 83 | 108 | 30
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 3 | 23 | 56 | 38 | 25 | 96 | 69 | 89 | 32
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 4 | 30 | 50 | 42 | 20 | 84 | 81 | 75 | 25
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 5 | 34 | 39 | 14 | 20 | 68 | 59 | 101 | 31
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 6 | 33 | 49 | 40 | 17 | 94 | 79 | 92 | 29
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 7 | 22 | 51 | 6 | 25 | 107 | 88 | 101 | 22
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 8 | 26 | 49 | 33 | 24 | 79 | 78 | 83 | 29
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 9 | 31 | 51 | 35 | 23 | 84 | 82 | 101 | 25
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 10 | 25 | 50 | 32 | 19 | 81 | 72 | 99 | 32
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 11 | 34 | 52 | 36 | 22 | 90 | 59 | 101 | 23
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 12 | 33 | 56 | 46 | 19 | 76 | 72 | 102 | 27
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 13 | 29 | 50 | 35 | 21 | 66 | 86 | 82 | 24
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 14 | 33 | 43 | 45 | 17 | 78 | 56 | 73 | 26
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 15 | 21 | 53 | 27 | 26 | 96 | 70 | 72 | 25
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 16 | 26 | 54 | 35 | 22 | 84 | 56 | 99 | 30
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 17 | 29 | 55 | 38 | 17 | 98 | 89 | 95 | 29
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 18 | 26 | 45 | 39 | 24 | 63 | 77 | 76 | 26
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 19 | 22 | 46 | 11 | 18 | 82 | 63 | 95 | 29
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupancy | 20 | 29 | 36 | 47 | 22 | 92 | 56 | 77 | 32
| Average |  |  |  | 28.1 | 48.35 | 34.3 | 21.2 | 86.6 | 73.15 | 91 | 27.3

## Mean unsuccessfully generated o
Mean unsuccessfully generated occupants
No. | Fire scenario | Fire source | Occupant flow type | 4F | 3F | 2F | 1F | UG | LG | B1 | B2
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupant | 38.9 | 63.95 | 52.2 | 29.05 | 104.05 | 88.05 | 115.95 | 37.5
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupant | 32.5 | 49.35 | 39.7 | 21.6 | 93.6 | 78.1 | 96.75 | 29.9
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupant | 28.55 | 46.35 | 40.5 | 20.15 | 84.2 | 74.6 | 91.3 | 25.3
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupant | 43.7 | 66.5 | 50.95 | 26.95 | 110.9 | 94.75 | 118.75 | 36.55
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupant | 31.25 | 53.55 | 39 | 23.7 | 94.7 | 80.1 | 100.55 | 31
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupant | 28.55 | 42.55 | 36.5 | 22.25 | 88.5 | 73.6 | 90.1 | 25.4
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupant | 39.9 | 63.5 | 52.55 | 27.9 | 107.65 | 91.85 | 111.25 | 33.9
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupant | 28.8 | 51.3 | 44.65 | 24.95 | 96.1 | 82.25 | 99.65 | 29.3
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupant | 27.45 | 46.2 | 38.45 | 22.15 | 89.2 | 71.4 | 88.5 | 25.4
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupant | 43.05 | 63.25 | 50.15 | 27.8 | 108.8 | 90.55 | 111.65 | 35.9
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupant | 30.95 | 49.2 | 41.9 | 25.5 | 92.8 | 81.1 | 98.5 | 29.6
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupant | 28.1 | 48.35 | 34.3 | 21.2 | 86.6 | 73.15 | 91 | 27.3
No. | Fire scenario | Fire source | Occupant flow type | 4F | 3F | 2F | 1F | UG | LG | B1 | B2
1 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Peak occupant | 38.9 | 63.95 | 52.2 | 29.05 | 104.05 | 88.05 | 115.95 | 37.5
4 | Scenario II: Single underground-space fire scenario | Distribution box failure in B1 shops | Peak occupant | 43.7 | 66.5 | 50.95 | 26.95 | 110.9 | 94.75 | 118.75 | 36.55
7 | Scenario III: Cross-space composite fire scenario | Gas leakage on 3F and B1 | Peak occupant | 39.9 | 63.5 | 52.55 | 27.9 | 107.65 | 91.85 | 111.25 | 33.9
10 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on UG, B1 box short circuit, B2 vehicle failure | Peak occupant | 43.05 | 63.25 | 50.15 | 27.8 | 108.8 | 90.55 | 111.65 | 35.9
Mean unsuccessfully generated occupants |  |  |  | 41.3875 | 64.3 | 51.4625 | 27.925 | 107.85 | 91.3 | 114.4 | 35.9625
Observed peak occupant |  |  |  | 420 | 650 | 520 | 280 | 1080 | 920 | 1150 | 360
Ratio of unsuccessfully generated to observed peak occupant(%) |  |  |  | 9.854% | 9.892% | 9.897% | 9.973% | 9.986% | 9.924% | 9.948% | 9.99%
No. | Fire scenario | Fire source | Occupant flow type | 4F | 3F | 2F | 1F | UG | LG | B1 | B2
2 | Scenario I: Single above-ground space fire scenario | Gas leakage on 4F | Average occupant | 32.5 | 49.35 | 39.7 | 21.6 | 93.6 | 78.1 | 96.75 | 29.9
5 | Scenario II: Single underground-space fire scenario | Gas leakage on UG | Average occupant | 31.25 | 53.55 | 39 | 23.7 | 94.7 | 80.1 | 100.55 | 31
8 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and B2 distribution box failure | Average occupant | 28.8 | 51.3 | 44.65 | 24.95 | 96.1 | 82.25 | 99.65 | 29.3
11 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 3F, B1 and B2 box failure | Average occupant | 30.95 | 49.2 | 41.9 | 25.5 | 92.8 | 81.1 | 98.5 | 29.6
Mean unsuccessfully generated occupants |  |  |  | 30.875 | 50.85 | 41.3125 | 23.9375 | 94.3 | 80.3875 | 98.8625 | 29.95
Observed average occupant |  |  |  | 314 | 505 | 423 | 236 | 950 | 803 | 986 | 300
Ratio of unsuccessfully generated to observed average occupant(%) |  |  |  | 9.833% | 10.07% | 9.767% | 10.14% | 9.926% | 10.01% | 10.03% | 9.983%
No. | Fire scenario | Fire source | Occupant flow type | 4F | 3F | 2F | 1F | UG | LG | B1 | B2
3 | Scenario I: Single above-ground space fire scenario | Gas leakage on 3F | Low occupant | 28.55 | 46.35 | 40.5 | 20.15 | 84.2 | 74.6 | 91.3 | 25.3
6 | Scenario II: Single underground-space fire scenario | Vehicle failure on B2 | Low occupant | 28.55 | 42.55 | 36.5 | 22.25 | 88.5 | 73.6 | 90.1 | 25.4
9 | Scenario III: Cross-space composite fire scenario | Gas leakage on 4F and UG | Low occupant | 27.45 | 46.2 | 38.45 | 22.15 | 89.2 | 71.4 | 88.5 | 25.4
12 | Scenario IV: Multi-floor coupled fire scenario | Gas leakage on 4F, UG and B1 shop box short circuit | Low occupant | 28.1 | 48.35 | 34.3 | 21.2 | 86.6 | 73.15 | 91 | 27.3
Mean unsuccessfully generated occupants |  |  |  | 28.1625 | 45.8625 | 37.4375 | 21.4375 | 87.125 | 73.1875 | 90.225 | 25.85
Observed low occupant |  |  |  | 280 | 460 | 380 | 210 | 870 | 730 | 900 | 260
Ratio of unsuccessfully generated to observed low occupant(%) |  |  |  | 10.06% | 9.97% | 9.852% | 10.21% | 10.01% | 10.03% | 10.03% | 9.942%